## 1603118_(Bldg#2)
Onscreen Takeoff Sample Division
Job Name | Crown Colony |  |  | Lumber Grades |  | Type 1 | Type 2
Reference No. | 1603118_(Bldg#2) |  |  | Studs |  | #2 SPF | FRT
Type | 1st, 2nd, 3rd, 4th, 5th and Roof |  |  | Sheathing |  | 7/16" Flame Block
Date | 2016-05-10 |  |  | Shear wall Sheathing |  | 7/16" OSB
Total Hours |  |  |  | Plates |  | #2 SPF | FRT
****NOTES: |  | First Floor | Second Floor | Third Floor | Fourth Floor | Fifth Floor | Roof | Total
PLEASE USE THIS AREA FOR NOTES ABOUT MATERIAL SUBSTITUTIONS OR ANY QUESTIONS OR COMMENTS. ALSO EXPLANATIONS FOR TOTALS……….. |  | External | External | External | External | External | External
|  | 370 | 370 | 370 | 370 | 376 | 27 | 1883
|  | Internal | Internal | Internal | Internal | Internal | Internal
|  | 2411 | 2393 | 2364 | 2382 | 2383 | 14 | 11947
|  | Ext SW | Ext SW | Ext SW | Ext SW | Ext SW | Ext SW
|  | 379 | 379 | 379 | 379 | 358 | 58 | 1932
|  | Int.SW | Int.SW | Int.SW | Int.SW | Int.SW | Int.SW
|  | 733 | 732 | 732 | 736 | 736 | 0 | 3669
|  | Other Wall | Other Wall | Other Wall | Other Wall | Other Wall | Other Wall
|  | 0 |  | 0 | 0 | 0 | 0 | 0
19431
ONLINE | PANEL TYPE | First Floor | Second Floor | Third Floor | Fourth Floor | Fifth Floor | Roof | Total
EXTERIOR WALLS |  | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT"
EXTERIOR LB | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - 12'-0"@16" o.c (9W) | 370 | 370 | 370 | 370 | 253 |  | 1733
| 2x6 - 9'-0"@16" o.c (9W) |  |  |  |  | 123 |  | 123
| 2x6 - "HEIGHT" | [6 empty] | 0
EXT OFF-LINE |  | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT"
SLOPING WALLS | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - "HEIGHT" | [6 empty] | 0
0
TALL WALLS >12' | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - "HEIGHT" | [6 empty] | 0
0
SHORT WALLS <7'-7" | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - @16" O.C | [5 empty] | 27 | 27
0
INTERIOR WALLS |  | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT"
INTERIOR LB | 2-2x4 - 10'-0"@12"o.c (5W) | 151 | [5 empty] | 151
| 2-2x4 - 10'-0"@12"o.c (5W) (Cori) | 22 | [5 empty] | 22
| 2x4 - 10'-0"@12"+24" o.c (4W) | 57 | 109 |  |  |  |  | 166
| 2x4 - 10'-0"@12"+24" o.c (4W) (Dimi) | 80 | 20 |  |  |  |  | 100
| 2x4 - 10'-0"@12"o.c (3W) | 240 | 324 | 433 | 81 |  |  | 1078
| 2x4 - 10'-0"@12"o.c (3W) (Cori) | 202 | 202 | 22 |  |  |  | 426
| 2x4 - 10'-0"@12"o.c (3W) (Dimi) | 374 | 409 | 373 | 319 |  |  | 1475
| 2x4 - 10'-0"@24"+48"o.c (2W) (Cori) | 38 | 38 | 202 | 223 |  |  | 501
| 2x4 - 10'-0"@24"+48"o.c (2W) (Dimi) |  | 29 | 86 | 40 |  |  | 155
| 2x4 - 10'-0"@12"+24"o.c (4W) (Cori) |  | 22 |  |  |  |  | 22
| 2x4 - 12'-0"@12"o.c (3W) (Dimi) |  | 37 | 37 | 37 |  |  | 111
| 2x4 - 10'-0"@24"o.c (1W) (Cori) |  |  | 38 | 38 |  |  | 76
| 2x4 - 10'-0"@24"o.c (1W) |  |  |  | 351 |  |  | 351
| 2x4 - 10'-0"@24"o.c (1W) (Dimi) |  |  |  | 96 |  |  | 96
| 2x4 - 9'-0"@24"o.c (1W) (Cori) |  |  |  |  | 261 |  | 261
| 2x4 - 9'-0"@12"o.c (3W) |  |  |  |  | 51 |  | 51
| 2x4 - 9'-0"@24"o.c (1W) |  |  |  |  | 214 |  | 214
| 2x4 - 9'-0"@24"o.c (1W) (Dimi) |  |  |  |  | 344 |  | 344
| 2x4 - 12'-0"@24"o.c (1W) (Dimi) |  |  |  |  | 152 |  | 152
| 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - 10'-0"@24"o.c (7W) | 37 | 23 | 19 | 19 |  |  | 98
| 2x6 - "HEIGHT" | [6 empty] | 0
INT LB OFF-LINE |  | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT"
SLOPING WALLS | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - "HEIGHT" | [6 empty] | 0
0
TALL WALLS >12' | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - "HEIGHT" | [6 empty] | 0
0
SHORT WALLS <7'-7" | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - "HEIGHT" | [6 empty] | 0
0
INTERIOR WALLS |  | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT"
INTERIOR NON-LB | 2x4 -10'-0"@24"o.c | 826 | 797 | 782 | 795 |  |  | 3200
| 2x4 -9'-0"@24"o.c |  |  |  |  | 971 |  | 971
| 2x6 -10'-0"@24"o.c | 288 | 287 | 285 | 287 |  |  | 1147
| 2x6 -9'-0"@24"o.c |  |  |  |  | 294 |  | 294
INT NLB-OFF-LINE |  | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT"
SLOPING WALLS | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - "HEIGHT" | [6 empty] | 0
0
TALL WALLS >12' | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - "HEIGHT" | [6 empty] | 0
0
SHORT WALLS <7'-7" | 2x4 - @24" o.c (Knee Wall) | 96 | 96 | 87 | 96 | 96 | 14 | 485
| 2x6 - @24" o.c | [6 empty] | 0
0
EXTERIOR SHEAR WALLS |  | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT"
EXTERIOR LB-SW | 2x4 - 8'-0"@24" o.c (1WSW2B) | [5 empty] | 58 | 58
| 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - 12'-0"@16" o.c (9WSW2C) | 139 | 139 | 139 | 139 | 140 |  | 696
| 2x6 - 12'-0"@16" o.c (9WSW2B) | 58 | 58 | 58 | 58 |  |  | 232
| 2x6 - 12'-0"@16" o.c (9WSW2D) | 12 | 12 | 12 | 12 |  |  | 48
| 2x6 - 12'-0"@16" o.c (9WSW2A) | 170 | 170 | 170 | 170 | 64 |  | 744
| 2x6 - 9'-0"@16" o.c (9WSW2A) |  |  |  |  | 55 |  | 55
| 2x6 - "HEIGHT" | [6 empty] | 0
| 2x6 - "HEIGHT" | [6 empty] | 0
0
EXT OFF-LINE-SW |  | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT"
SLOPING WALLS | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - @16" o.c (9WSW2A) (Sloped) |  |  |  |  | 26 |  | 26
| 2x6 - @16" o.c (9WSW2B) (Sloped) |  |  |  |  | 59 |  | 59
| 2x6 - @16" o.c (9WSW2D) (Sloped) |  |  |  |  | 14 |  | 14
0
TALL WALLS >12' | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - "HEIGHT" | [6 empty] | 0
0
SHORT WALLS <7'-7" | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - "HEIGHT" | [6 empty] | 0
0
INTERIOR SHEAR WALLS |  | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT"
INTERIOR LB-SW | 2-2x4 - 10'-0"@12"o.c (5WSW2A) (Dimi) | 86 | [5 empty] | 86
| 2-2x4 - 10'-0"@12"o.c (5WSW2D) | 51 | [5 empty] | 51
| 2-2x4 - 10'-0"@12"o.c (5WSW2C) | 49 | [5 empty] | 49
| 2x4 - 10'-0"@12"+24" o.c (4WSW2A) (Dimi) | 173 | 57 |  |  |  |  | 230
| 2x4 - 10'-0"@12"+24" o.c (4WSW2C) (Dimi) | 52 | [5 empty] | 52
| 2x4 - 10'-0"@16" o.c (6WSW2B) (Dimi) | 116 | [5 empty] | 116
| 2x4 - 10'-0"@12"o.c (3WSW2B) (Dimi) | 29 | [5 empty] | 29
| 2x4 - 10'-0"@12"+24" o.c (4WSW2D) | 7 | [5 empty] | 7
| 2x4 - 10'-0"@12"o.c (3WSW2A) (Dimi) | 58 | 173 | 57 |  |  |  | 288
| 2x4 - 10'-0"@12"o.c (3WSW2C) (Cori) | 48 | 48 |  |  |  |  | 96
| 2x4 - 10'-0"@12"+24"o.c (4WSW2C) |  | 49 |  |  |  |  | 49
| 2x4 - 10'-0"@12"+24"o.c (4WSW2D) |  | 51 |  |  |  |  | 51
| 2x4 - 10'-0"@24" o.c (1WSW2B) (Dimi) |  | 116 | 112 | 112 |  |  | 340
| 2x4 - 10'-0"@12"o.c (3WSW2C) (Dimi) |  | 52 |  |  |  |  | 52
| 2x4 - 10'-0"@24"+48"o.c (2WSW2A) (Dimi) |  | 86 | 112 |  |  |  | 198
| 2x4 - 10'-0"@12"o.c (3WSW2D) |  | 7 | 59 |  |  |  | 66
| 2x4 - 10'-0"@24"+48"o.c (2WSW2B) (Dimi) |  | 29 |  |  |  |  | 29
| 2x4 - 10'-0"@24"+48"o.c (2WSW2C) (Cori) |  |  | 48 | 48 |  |  | 96
| 2x4 - 10'-0"@12"o.c (3WSW2C) |  |  | 49 | 49 |  |  | 98
| 2x4 - 10'-0"@24"+48"o.c (2WSW2C) (Dimi) |  |  | 51 |  |  |  | 51
| 2x4 - 10'-0"@24" o.c (1WSW2A) (Dimi) |  |  | 148 | 318 |  |  | 466
| 2x4 - 10'-0"@24" o.c (1WSW2C) (Dimi) |  |  |  | 54 |  |  | 54
| 2x4 - 10'-0"@24" o.c (1WSW2D) |  |  |  | 59 |  |  | 59
| 2x4 - 9'-0"@24"o.c (1WSW2C) (Cori) |  |  |  |  | 48 |  | 48
| 2x4 - 9'-0"@24"o.c (1WSW2C) |  |  |  |  | 49 |  | 49
| 2x4 - 9'-0"@24" o.c (1WSW2A) (Dimi) |  |  |  |  | 318 |  | 318
| 2x4 - 9'-0"@24" o.c (1WSW2B) (Dimi) |  |  |  |  | 145 |  | 145
| 2x4 - 9'-0"@24" o.c (1WSW2C) (Dimi) |  |  |  |  | 53 |  | 53
| 2x4 - 9'-0"@24" o.c (1WSW2D) |  |  |  |  | 59 |  | 59
| 2x4 - "HEIGHT" | [6 empty] | 0
| 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - 10'-0"@24"o.c (7WSW2C) | 32 | 64 | 64 | 64 |  |  | 224
| 2x6 - 9'-0"@24"o.c (7WSW2C) |  |  |  |  | 64 |  | 64
| 2x6 - 10'-0"@16"o.c (9WSW2C) | 32 | [5 empty] | 32
| 2x6 - 10'-0"@24"o.c (7WSW2B) (Dimi) |  |  | 32 | 32 |  |  | 64
0
INT LB OFF-LINE-SW |  | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT"
SLOPING WALLS | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - "HEIGHT" | [6 empty] | 0
0
TALL WALLS >12' | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - "HEIGHT" | [6 empty] | 0
0
SHORT WALLS <7'-7" | 2x4 - "HEIGHT" | [6 empty] | 0
| 2x6 - "HEIGHT" | [6 empty] | 0
0
OTHER MISC. |  | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT" | "HEIGHT"
***THIS SECTION IS | 2x3 ? | [6 empty] | 0
FOR WALLS THAT | 2x8 | [6 empty] | 0
DO NOT FIT THE | LVL ? | [6 empty] | 0
TYPES ABOVE. | EXT NLB ? | [6 empty] | 0
0
0
0
19431
| WALL TYPE | First Floor | Second Floor | Third Floor | Fourth Floor | Fifth Floor | Roof | Total
| 2x4 External | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2x4 Internal | 922 | 893 | 869 | 891 | 1067 | 14 | 4656
| 2x4 Internal Brng | 1164 | 1190 | 1191 | 1185 | 1022 | 0 | 5752
| 2x4 Ext SW | 0 | 0 | 0 | 0 | 0 | 58 | 58
| 2x4 Int SW | 669 | 668 | 636 | 640 | 672 | 0 | 3285
| 2x6 External | 370 | 370 | 370 | 370 | 376 | 27 | 1883
| 2x6 Internal | 288 | 287 | 285 | 287 | 294 | 0 | 1441
| 2x6 Internal Brng | 37 | 23 | 19 | 19 | 0 | 0 | 98
| 2x6 Ext SW | 379 | 379 | 379 | 379 | 358 | 0 | 1874
| 2x6 Int SW | 64 | 64 | 96 | 96 | 64 | 0 | 384
| Other Wall | 0 | 0 | 0 | 0 | 0 | 0 | 0
19431
| PLATES | First Floor | Second Floor | Third Floor | Fourth Floor | Fifth Floor | Roof
| 2x4 Plates | 3924 | 6696 | 6555 | 6593 | 6952 | 202
| 2x6 Plates | 1988 | 3082 | 3162 | 3166 | 2982 | 81
| 2x8 Plates | 332 | 332 | 332 | 332 | 332
| 2x4 ACQ Treated | 2755
| 2x6 ACQ Treated | 1138
***TOTAL HEADER LENGTH TIMES THE AMOUNT OF PLY'S IN LF
| HEADERS | First Floor | Second Floor | Third Floor | Fourth Floor | Fifth Floor | Roof
3(2x8)
3 (2x10)
2 (2x12)
3 (2x12)
3 (1 3/4X9 1/4)
3 (1 3/4X11 1/4)
***TOTAL BLOCKING LENGTH IN LF EXTERIOR BEARING
| BLOCKING | First Floor | Second Floor | Third Floor | Fourth Floor | Fifth Floor | Roof
2x4 Cabinet
2x4 Grab Bars
2x4 Mid Ht Blocking
2x4 Seam Blocking
| 2x6 Cabinet | 64 | 14
2x6 Grab Bars
| 2x6 Mid Ht Blocking | 749 | 749 | 749 | 749 | 734
| 2x6 Seam Blocking | 749 | 749 | 749 | 749 | 734
***TOTAL BLOCKING LENGTH IN LF IN INTERIOR BEARING
| BLOCKING | First Floor | Second Floor | Third Floor | Fourth Floor | Fifth Floor | Roof
| 2x4 Cabinet | 300 | 320 | 288 | 320 | 320
| 2x4 Grab Bars |  |  | 6
| 2x4 Mid Ht Blocking | 1833 | 1858 | 1827 | 1825 | 1694
| 2x4 Seam Blocking | 669 | 668 | 636 | 640 | 672
| 2x6 Cabinet | 80 | 14
2x6 Grab Bars
| 2x6 Mid Ht Blocking | 101 | 87 | 115 | 115 | 64
| 2x6 Seam Blocking | 64 | 64 | 96 | 96 | 64
***TOTAL BLOCKING LENGTH IN LF IN INTERIOR NON LOAD BEARING
| BLOCKING | First Floor | Second Floor | Third Floor | Fourth Floor | Fifth Floor | Roof
2x4 Cabinet
| 2x4 Grab Bars |  |  | 3
2x4 Mid Ht Blocking
2x4 Seam Blocking
2x6 Cabinet
2x6 Grab Bars
2x6 Mid Ht Blocking
2x6 Seam Blocking
| TIE DOWN POSTS | First Floor | Second Floor | Third Floor | Fourth Floor | Fifth Floor | Roof
EXTERNAL
| 2-(2x6) | 28 | 28 | 36 | 36 | 36
| 3-(2x6) | 16 | 16
INTERNAL
| 2-(2x4) | 34 | 34 | 50 | 66 | 66
| 3-(2x4) | 20 | 20 | 16
| 4-(2x4) |  | 14
| 2-(2x6) |  |  | 12 | 12 | 8
| 3-(2x6) | 8 | 8
4-(2x6)
| IN-BUILT POSTS | First Floor | Second Floor | Third Floor | Fourth Floor | Fifth Floor | Roof
HEIGHT
EXTERNAL
2(2x4)
3(2x4)
4(2x4)
5(2x4)
| 2(2x6) | 28 | 12 | 12 | 12 | 16
3(2x6)
4(2x6)
3-1/2"x7" PSL
INTERNAL
HEIGHT
| 2(2x4) | 24 | 24 | 24 | 24 | 36
| 3(2x4) |  | 1 | 1 | 10 | 2
| 4(2x4) | 1 |  | 8 |  | 2
5(2x4)
| 2(2x6) | 7 | 7 | 7 | 7
3(2x6)
4(2x6)
| 3-1/2"x7" PSL |  | 25 |  | 8
| 3-1/2" x 9 1/4" PSL | 25 |  | 8
3-1/2" x 3-1/2" PSL